## Input
exceso | 10% | Phage in lane? (1-8) | 8 |  |  | Lane1 | Lane2 | Lane3 | Lane4 | Lane5 | Lane6 | Lane7 | Lane8
SampleNumber | 1 | Denaturated and diluted Phage already done? | Yes |  | on / off | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
|  | Final Concentration Phage Phi | 8 | Yes | Ci | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Final Volume Sample (ml) | 400 | Final Volume Phage Phi (ml) | 200 | No | Cf | 15 | 15 | 15 | 15 | 15 | 15 | 15 | 8
Volume Sample (ml) | 0 | Volume Phage Phi (ml) | 80 |  | Spike in lane | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No
Volume HT1 (Hyb Buffer) (ml) | 400 | Volume HT1 (Hyb Buffer) (ml) | 120
Concentration pM (intermediate dilution) | 20
|  | 1% Spike ul | 4.04 |  | vol sample to desnat | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 2
[5 empty] | on/off (def) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Vol Total |  |  | Vol HT1 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 120
|  | Elution buffer with tween 20 | 264 |  | Vol sample/Phi | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 80
|  | NaOH 1N | 33
|  | Volume HT1 | 820

## Main
A | RackLabel | RackID | RackType | Position | TubeID | Volume | LiquidClass
D | RackLabel | RackID | RackType | Position | TubeID | Volume | LiquidClass
R | Nombre origen | ; | tipo labware origen | Pos inicio origen | Pos fin origen | Nombre destino | ; | Tipo labware destino | Pos inicio destino | Pos fin destino | Volumen | Liquid class | No veces reusar punta | multidispensar
B | Adding Elution Buffer with Tween 20 0.1 %
S | 4
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 32 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 1 |  | 32 | NGS_cBot_EB
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 32 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 2 |  | 32 | NGS_cBot_EB
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 32 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 3 |  | 32 | NGS_cBot_EB
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 32 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 4 |  | 32 | NGS_cBot_EB
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 32 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 5 |  | 32 | NGS_cBot_EB
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 32 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 6 |  | 32 | NGS_cBot_EB
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 32 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 7 |  | 32 | NGS_cBot_EB
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 10 |  | 16 | NGS_cBot_EB
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 8 |  | 16 | NGS_cBot_EB
REMOVE
B | Adding NaOH 1N
REMOVE | 4
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 4 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 1 |  | 4 | NGS_cBot_NaOH
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 4 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 2 |  | 4 | NGS_cBot_NaOH
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 4 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 3 |  | 4 | NGS_cBot_NaOH
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 4 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 4 |  | 4 | NGS_cBot_NaOH
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 4 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 5 |  | 4 | NGS_cBot_NaOH
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 4 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 6 |  | 4 | NGS_cBot_NaOH
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 4 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 7 |  | 4 | NGS_cBot_NaOH
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 11 |  | 2 | NGS_cBot_NaOH
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 8 |  | 2 | NGS_cBot_NaOH
REMOVE
B | Adding 10 nM samples
REMOVE | 4
REMOVE | InputPlate |  | PCR96WellPlate | 1 |  | 4 | NGS_cBot_sample
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 1 |  | 4 | NGS_cBot_sample
REMOVE
REMOVE | InputPlate |  | PCR96WellPlate | 2 |  | 4 | NGS_cBot_sample
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 2 |  | 4 | NGS_cBot_sample
REMOVE
REMOVE | InputPlate |  | PCR96WellPlate | 3 |  | 4 | NGS_cBot_sample
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 3 |  | 4 | NGS_cBot_sample
REMOVE
REMOVE | InputPlate |  | PCR96WellPlate | 4 |  | 4 | NGS_cBot_sample
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 4 |  | 4 | NGS_cBot_sample
REMOVE
REMOVE | InputPlate |  | PCR96WellPlate | 5 |  | 4 | NGS_cBot_sample
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 5 |  | 4 | NGS_cBot_sample
REMOVE
REMOVE | InputPlate |  | PCR96WellPlate | 6 |  | 4 | NGS_cBot_sample
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 6 |  | 4 | NGS_cBot_sample
REMOVE
REMOVE | InputPlate |  | PCR96WellPlate | 7 |  | 4 | NGS_cBot_sample
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 7 |  | 4 | NGS_cBot_sample
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 9 |  | 2 | NGS_cBot_sample2
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 8 |  | 2 | NGS_cBot_sample2
REMOVE
B | Incubating at RT for 5 minutes
B | StartTimer("1")
B | WaitTimer("1","300")
B | Adding 20 ul (2 nM samples) to eppendorf with 980 ul of HT1 Buffer
S | 4
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 1 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 20 | NGS_cBot_sampletransfer
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 2 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 20 | NGS_cBot_sampletransfer
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 3 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 20 | NGS_cBot_sampletransfer
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 4 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 20 | NGS_cBot_sampletransfer
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 5 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 20 | NGS_cBot_sampletransfer
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 6 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 20 | NGS_cBot_sampletransfer
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 7 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 20 | NGS_cBot_sampletransfer
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 8 |  | 20 | NGS_cBot_sampletransfer
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 20 | NGS_cBot_sampletransfer
REMOVE
B | Mixing HT1 and denaturated sample
S | 1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 201 | NGS_cBot_sampletransferMIX
REMOVE
B | Adding Hyb Buffer (HT1) to samples to dilute them at desired concentration
S | 1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 100 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 100 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 100 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 100 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 100 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 100 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 100 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_HT1
REMOVE
A | HT1 Reservoir |  | HT1Reservoir | 4 |  | 120 | NGS_cBot_HT1
D | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 120 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
REMOVE | HT1 Reservoir |  | HT1Reservoir | 4 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
W
B | Adding 20 pM Sample to dilute it to desired concentration
S | 1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 17 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 18 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 19 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 20 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 21 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 22 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_HT1
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 200 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 100 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 23 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_HT1
REMOVE
A | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 80 | NGS_cBot_HT1
D | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 80 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 24 |  | 0 | NGS_cBot_HT1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_HT1
W
B | Mixing sample at final concentration
S | 1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
A | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 200 | NGS_cBot_sampletransferMIX
D | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 200 | NGS_cBot_sampletransferMIX
W
B | Adding PhiX Spike-in Samples to samples
REMOVE | 4
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 0 | NGS_cBot_spike
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 0 | NGS_cBot_spike
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 0 | NGS_cBot_spike
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 0 | NGS_cBot_spike
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 0 | NGS_cBot_spike
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 0 | NGS_cBot_spike
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 0 | NGS_cBot_spike
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 0 | NGS_cBot_spike
REMOVE
B | Mixing sample at final concentration
S | 1
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 200 | NGS_cBot_sampletransferMIX
REMOVE
A | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 200 | NGS_cBot_sampletransferMIX
D | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 200 | NGS_cBot_sampletransferMIX
W
B | Dispensing samples in the strip tube
S | 4
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 1 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 1 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 25 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 1 |  | 40 | NGS_cBot_strip
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 2 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 2 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 26 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 2 |  | 40 | NGS_cBot_strip
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 3 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 3 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 27 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 3 |  | 40 | NGS_cBot_strip
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 4 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 4 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 28 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 4 |  | 40 | NGS_cBot_strip
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 5 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 5 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 29 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 5 |  | 40 | NGS_cBot_strip
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 6 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 6 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 30 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 6 |  | 40 | NGS_cBot_strip
REMOVE
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 7 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 7 |  | 40 | NGS_cBot_strip
REMOVE | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 31 |  | 40 | NGS_cBot_strip
REMOVE | 8TubesStrip |  | 8 Tubes Strip | 7 |  | 40 | NGS_cBot_strip
REMOVE
A | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 40 | NGS_cBot_strip
D | 8TubesStrip |  | 8 Tubes Strip | 8 |  | 40 | NGS_cBot_strip
A | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 40 | NGS_cBot_strip
D | 8TubesStrip |  | 8 Tubes Strip | 8 |  | 40 | NGS_cBot_strip
A | 1.5ml tubes |  | 1.5ml tubes 32 Pos | 32 |  | 40 | NGS_cBot_strip
D | 8TubesStrip |  | 8 Tubes Strip | 8 |  | 40 | NGS_cBot_strip
W
B | End of Script

## gwl
B;Adding Elution Buffer with Tween 20 0.1 %
S;4
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
B;Adding NaOH 1N
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
B;Adding 10 nM samples
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
B;Incubating at RT for 5 minutes
B;StartTimer("1")
B;WaitTimer("1","300")
B;Adding 20 ul (2 nM samples) to eppendorf with 980 ul of HT1 Buffer
S;4
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
B;Mixing HT1 and denaturated sample
S;1
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
B;Adding Hyb Buffer (HT1) to samples to dilute them at desired concentration
S;1
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
A;HT1 Reservoir;;HT1Reservoir;4;;120;NGS_cBot_HT1;;;;;;;;
D;1.5ml tubes;;1.5ml tubes 32 Pos;32;;120;NGS_cBot_HT1;;;;;;;;
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
W;;;;;;;;;;;;;;;
B;Adding 20 pM Sample to dilute it to desired concentration
S;1
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
A;1.5ml tubes;;1.5ml tubes 32 Pos;24;;80;NGS_cBot_HT1;;;;;;;;
D;1.5ml tubes;;1.5ml tubes 32 Pos;32;;80;NGS_cBot_HT1;;;;;;;;
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
W;;;;;;;;;;;;;;;
B;Mixing sample at final concentration
S;1
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
A;1.5ml tubes;;1.5ml tubes 32 Pos;32;;200;NGS_cBot_sampletransferMIX;;;;;;;;
D;1.5ml tubes;;1.5ml tubes 32 Pos;32;;200;NGS_cBot_sampletransferMIX;;;;;;;;
W;;;;;;;;;;;;;;;
B;Adding PhiX Spike-in Samples to samples
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
B;Mixing sample at final concentration
S;1
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
A;1.5ml tubes;;1.5ml tubes 32 Pos;32;;200;NGS_cBot_sampletransferMIX;;;;;;;;
D;1.5ml tubes;;1.5ml tubes 32 Pos;32;;200;NGS_cBot_sampletransferMIX;;;;;;;;
W;;;;;;;;;;;;;;;
B;Dispensing samples in the strip tube
S;4
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
REMOVE
A;1.5ml tubes;;1.5ml tubes 32 Pos;32;;40;NGS_cBot_strip;;;;;;;;
D;8TubesStrip;;8 Tubes Strip;8;;40;NGS_cBot_strip;;;;;;;;
A;1.5ml tubes;;1.5ml tubes 32 Pos;32;;40;NGS_cBot_strip;;;;;;;;
D;8TubesStrip;;8 Tubes Strip;8;;40;NGS_cBot_strip;;;;;;;;
A;1.5ml tubes;;1.5ml tubes 32 Pos;32;;40;NGS_cBot_strip;;;;;;;;
D;8TubesStrip;;8 Tubes Strip;8;;40;NGS_cBot_strip;;;;;;;;
W;;;;;;;;;;;;;;;
B;End of Script